## Sheet1
DAILY MANAGEMENT REPORT
G1 - CANDOOR TECHSPACE
9TH DECEMBER 6:00 a.m TO 8TH DECEMBER 6:00 a.m
HT Grid Consumption
S.NO | ASSET | EB Initial Reading - kWh | EB Final Reading - kWh | EB Consumption - kWh | Meter Factor | CO2
1 | 66 KV Electricity board meter | 800.512 | 801.385 | 104760 | 120000 | 89046
2 | 33/66 KV Incomer - Brookfield | 106408 | 106513 | 105000 | 1000 | 89250
Difference 66 KV Electricity board and Brookfield Substation incommer meter
3 | Difference in kWh | -240 | ( First reading of previous day and First reading of report day)
Substation - Transformer Incommer Brookfield
4 | Transformer #1 I/C | 59576.5 | 59628.4 | 51900 | 1000
5 | Transformer #2 I/C | 60852.5 | 60904.7 | 52200 | 1000
Substation - Transmission Loss
6 | Transmission loss | 900
7 | Transmission loss in % | 0.85714
Substation - Transformer outgoing Brookfield
8 | Transformer#1 O/G | 53140.9 | 53193.3 | 52400 | 1000
9 | Transformer#2 O/G | 53297.3 | 53349.9 | 52600 | 1000
Transformer Loss
10 | Transformer loss in kWh | 900
11 | Transfomer loss in % | 0.85714
Tower #1 1- LT EB Unit Consumption
S.NO | ASSET | EB Initial Reading - kWh | EB Final Reading kWh | EB Consumption - kWh | EB Cumulative Consumption - kWh | Meter Factor
1 | Tower - 1 RMU EM | No Reading | No Reading | #VALUE! | No Reading | 0
2 | Transformer#1 | 8682.374 | 8688.8018 | 6.4277 | 8688.8018 | 0
3 | Transformer#2 | 6348.4741 | 6354.5332 | 6.0591 | 6354.5332 | 0
Distribution Transformer Loss - Tower #1
4 | Distribution Transformer loss | #VALUE!
5 | Transfomer loss in % | #VALUE!
Tower #1 LT Feeder Consumption
6 | Basement Vent#1 | 42371.3945 | 42371.3945 | 0 | 42371.3945 | 0
7 | Basement#3 | 3350.3157 | 3350.3157 | 0 | 3350.3157 | 0
8 | Basement#2 | 31916.6387 | 31916.6387 | 0 | 31916.6387 | 0
9 | Common Service | 576.3073 | 576.7516 | 0.44427 | 576.7516 | 0
Tower #1 DG room Consumption
10 | DG room Ventillation | 71363.7344 | 71363.7344 | 0 | 71363.7344 | 0
11 | DG Airwasher | 46.3356 | 46.3356 | 0 | 46.3356 | 0
12 | DG Auxilary panel | 6315.6172 | 6327.0532 | 11.436 | 6327.0532 | 0
Tower #1 Spare feeders
13 | Tower#9 | 0 | 5324 | 5324 | 5324 | 0
14 | Spare | 1239.5138 | 1240.5121 | 0.99829 | 1240.5121 | 0
15 | Spare | 10177.4414 | 10184.2988 | 6.8574 | 10184.2988 | 0
Tower #1 AHU Feeder consumption
16 | AHUR#1 | 1118.553 | 1120.0536 | 1.5006 | 1120.0536 | 0
17 | AHUR#2 | 600.3643 | 601.1229 | 0.75867 | 601.1229 | 0
Tower #1 Lift Feeder consumption
18 | Lift Panel#1 | 191.5451 | 191.6605 | 0.11542 | 191.6605 | 0
19 | Lift Panel#2 | 247.939 | 248.1817 | 0.24272 | 248.1817 | 0
20 | Lift Panel#2 | 57.5071 | 57.5129 | 0.0057602 | 57.5129 | 0
Tower #1 Raising main consumption
21 | Rising Main#1 | 2648.7471 | 2651.3347 | 2.5876 | 2651.3347 | 0
22 | Rising Main#3 | 1852.0062 | 1853.7284 | 1.7222 | 1853.7284 | 0
23 | Rising Main#2 | 3004.0659 | 3007.0422 | 2.9763 | 3007.0422 | 0
HSD Yard Consumption
S.NO | ASSET | HSD Initial in Liter | HSD Final in Liter | HSD Added in Liter | HSD Consumption - Liters
24 | T#6 HSD Yard Tank#1 | No Reading | No Reading | 0 | #VALUE!
25 | T#6 HSD Yard Tank#2 | No Reading | No Reading | 0 | #VALUE!
26 | T#6 HSD Yard Tank#3 | No Reading | No Reading | 0 | #VALUE!
27 | T#6 HSD Yard Tank#4 | No Reading | No Reading | 0 | #VALUE!
28 | T#9 HSD Yard Tank#1 | No Reading | No Reading | 0 | #VALUE!
29 | T#9 HSD Yard Tank#2 | No Reading | No Reading | 0 | #VALUE!
HSD Yard Consumption
30 | Total HSD in Stock in Liters | 0
DG Unit Consumption
S.NO | ASSET | DG Initial Reading - kWh | DG Final Reading -kWh | Unit Generated -kWh
31 | DG1(1500KVA)-25407846 | 2169575 | No Reading | #VALUE!
32 | DG2(1010KVA)-25408529 | 1546231 | No Reading | #VALUE!
33 | DG3(1500KVA)-25408060 | 2235672 | No Reading | #VALUE!
34 | DG4(1500KVA)-25408061 | 2243788 | No Reading | #VALUE!
DG Unit Generated
35 | Total DG energy Generated | #VALUE!
Tower - 1 DG HSD Consumption
S.NO | ASSET | Initial HSD level | Final HSD level | Total HSD consumption in Liters | Units /Liter
36 | DG1(1500KVA)-25407846 | 745 | 745 | 0 | #VALUE!
37 | DG2(1010KVA)-25408529 | 745 | No Reading | #VALUE! | #VALUE!
38 | DG3(1500KVA)-25408060 | 745 | No Reading | #VALUE! | #VALUE!
39 | DG4(1500KVA)-25408061 | 745 | No Reading | #VALUE! | #VALUE!
DG Run Hours
S.NO | ASSET | Initial Reading - Hrs | Final Reading - Hrs | Next B Check Due hour
40 | DG#1 | 4053.1 | 4052.6 | XXXX Hours
41 | DG#2 | 3649.7 | No Reading | XXXX Hours
42 | DG#3 | 4182 | No Reading | XXXX Hours
43 | DG#4 | 4207 | No Reading | XXXX Hours
Chiller EB Energy Consumption
S.NO | ASSET | Initial Reading - kWh | Final Reading -kWh | Consumption - kWh | Meter Factor
45 | AC feeder #1 | 1641.4913 | 1642.115 | 0.62366 | 0
46 | AC feeder #2 | 1707.9113 | 1708.3682 | 0.45691 | 0
Chiller approach
S.NO | ASSET | Condenser water temperature in °C | Condenser refrigerant temperature °C | Approach in °C
47 | Chiller - 1 Approach temperature °C | 23.1 | 20.93 | -2.17
48 | Chiller - 2 Approach temperature °C | 23 | 23.4 | 0.4
49 | Chiller - 3 Approach temperature °C | 22.2 | 22.78 | 0.58
Water Consumption
S.NO | ASSET | Initial Reading | Final Reading | Consumption - KL
50 | T#1Flushing Water Tank | 889.94 | 889.94 | 0
51 | T#1 STP Softener Water Tank | 16956.3203 | 16962.8008 | 6.4805
52 | T#1 Domestic Water Tank | 23.1111 | 86321.8984 | 86298.7874
53 | T#1 WTP Water Tank | 145577.7969 | 145628.2969 | 50.5
54 | T#1 Fire Water Tank | 0 | 0 | 0
9TH DECEMBER 00:00 a.m TO 8TH DECEMBER 00:00 a.m
EQUIPMENT RUNNING STATUS SUMMARY
S.NO | EQUIPMENT CATEGORY | OPERATIVE No's | WAREHOUSE No's | BREAKDOWN No's | SCRAPPED No's | TOTAL No's
1 | Electrical/Transformer | 19 |  |  |  | 19
2 | Electrical/Transformer/OLTC | 20 |  |  |  | 20
3 | HVAC/Fan/Fresh Air Unit | 143 |  |  |  | 143
4 | Electrical/Panel | 1059 |  |  |  | 1059
5 | Electrical/Panel/Circuit Breaker | 1081 |  |  |  | 1081
6 | Electrical/VFD | 335 |  |  |  | 335
7 | HVAC/Screw Chiller | 22 |  |  |  | 22
8 | HVAC/Hot Water Generator | 10 |  |  |  | 10
9 | HVAC/Screw Chiller/Pump | 81 |  |  |  | 81
10 | Electrical/Panel/PLC | 36 |  |  |  | 36
11 | HVAC/Fan/Exhaust Fan | 272 |  |  |  | 272
12 | Electrical/UPS/Battery Bank | 11 |  |  |  | 11
13 | Electrical/Motor | 28 |  |  |  | 28
14 | Electrical/Panel/Capacitor Bank | 227 |  |  |  | 227
15 | Fire & Safety/Fire Alarm System | 41 |  |  |  | 41
16 | Electrical/DG | 32 |  |  |  | 32
17 | Electrical/DG/Engine | 29 |  |  |  | 29
18 | Electrical/DG/Alternator | 29 |  |  |  | 29
19 | Electrical/DG/HMI | 26 |  |  |  | 26
20 | Electrical/DG/Battery | 66 |  |  |  | 66
21 | Electrical/DG/Tank | 44 |  |  |  | 44
22 | Electrical/DG/Tank/Pump | 17 |  |  |  | 17
23 | WTP/Submersible Pump | 36 |  |  |  | 36
24 | HVAC/AHU/Motor | 286 |  |  |  | 286
25 | HVAC/AHU | 276 |  |  |  | 276
26 | Electrical/Earth Pit | 3 |  |  |  | 3
27 | HVAC/CSU | 14 |  |  |  | 14
28 | Elevator/Passenger Lift | 41 |  |  |  | 41
29 | Elevator/Passenger Lift/ARD | 42 |  |  |  | 42
30 | Elevator/Passenger Lift/Motor | 42 |  |  |  | 42
31 | Elevator/Service Lift | 16 |  |  |  | 16
32 | Elevator/Service Lift/ARD | 16 |  |  |  | 16
33 | Elevator/Service Lift/Motor | 16 |  |  |  | 16
34 | HVAC/AC Unit | 16 |  |  |  | 16
35 | HVAC/Cooling Tower | 24 |  |  |  | 24
36 | HVAC/Cooling Tower/Motor | 51 |  |  |  | 51
37 | Electrical/DG/Cooling Tower | 31 |  |  |  | 31
38 | Electrical/DG/Cooling Tower/Motor | 31 |  |  |  | 31
39 | HVAC/Fan/Pressurization Fan | 48 |  |  |  | 48
40 | Fire & Safety/Tank | 11 |  |  |  | 11
41 | STP/Tank | 29 |  |  |  | 29
42 | WTP/Tank | 37 |  |  |  | 37
43 | Electrical/Solar Panel | 3 |  |  |  | 3
44 | Electrical/DG/Pump | 60 |  |  |  | 60
45 | HVAC/FCU | 24 |  |  |  | 24
46 | Fire & Safety/Pump | 8 |  |  |  | 8
47 | WTP/Pump | 49 |  |  |  | 49
48 | WTP/Air Blower | 2 |  |  |  | 2
49 | WTP/Filter | 4 |  |  |  | 4
50 | STP/Pump | 69 |  |  |  | 69
51 | STP/Filter | 17 |  |  |  | 17
52 | STP/Air Blower | 7 |  |  |  | 7
53 | Electrical/UPS | 15 |  |  |  | 15
54 | Fire & Safety/Fire Alarm Control Panel | 36 |  |  |  | 36
55 | HVAC/Air Washer | 24 |  |  |  | 24
56 | Electrical/Water Cooler | 2 |  |  |  | 2
57 | Electrical/Battery Charger | 2 |  |  |  | 2
58 | Electrical/Garbage Machine | 1 |  |  |  | 1
59 | Fire & Safety/PA System | 4 |  |  |  | 4
60 | Electrical/Pump | 5 |  |  |  | 5
61 | HVAC/Air Washer/Motor | 5 |  |  |  | 5
62 | Electrical/DG/Tank/HSD Tank | 6 |  |  |  | 6
63 | Electrical/Energy Meter | 51 |  |  |  | 51
64 | WTP/Meter | 6 |  |  |  | 6
65 | STP/Meter | 9 |  |  |  | 9
66 | WTP/Water Tank | 5 |  |  |  | 5
67 | IOT/Sensor | 130 |  |  |  | 130
5238
PREVENTIVE MAINTENANCE SUMMARY
S.NO | ASSET CATEGORY | TOTAL | DONE | PENDING | REMARKS
NO PREVENTIVE MAINTENANCE SUMMARY FOUND
HELPDESK TICKETS
S.NO | TICKET DESCRIPTION | LOCATION | EQUIPMENT | ASSIGNED TO | PRIORITY | STATUS | SLA STATUS | REQUESTED ON | CLOSED ON
1 | CG1TE2200107-sensor is not working | G1/T1/F12 | AHU#F12-RHS-Sensor-01 | -- | Moderately | Open | Within SLA | Sneha Singh ¦ 2022-11-26 01:33:32 | --
VISITOR SUMMARY
S.NO | VISITOR TYPE | COUNT
1 | Visitor | 0
2 | Vendor | 0
VISITOR DETAIL
S.NO | VISITOR TYPE | NAME | VISITOR BADGE | PURPOSE | EMPLOYEE | FROM | TO | STATUS
NO VISITOR DETAIL FOUND
DAILY INSPECTION SUMMARY
S.NO | TEAM | COMPLETED | MISSED | UPCOMING
1 | G1-Soft Services Team | 7 | 5 | 0
2 | G1-M&E Team | 32 | 5 | 63
3 | G1 PM Team | 0 | 0 | 0
INCIDENT MANAGEMENT
S.NO | TICKET DESCRIPTION | LOCATION | CATEGORY | SUB CATEGORY | PRIORITY | STATUS | SLA STATUS | RAISED ON | CLOSED ON
1 | CG1TE2200075-Test Ticket | - | Parking | - | High | Staff Closed | Within SLA | Sneha Singh ¦ 2022-10-14 16:51:09 | --
2 | CG1TE2200074-Test Incident | - | Near Miss | - | Low | Staff Closed | Within SLA | Sneha Singh ¦ 2022-10-14 16:16:55 | --
3 | CG1TE2200073-Door damaged near the entrance | - | Minor Damage | - | Low | In Progress | Within SLA | Sneha Singh ¦ 2022-10-14 16:07:14 | --
4 | CG1TE2200072-Worker Injury Incident | - | Near Miss | - | Low | Open | Within SLA | Sneha Singh ¦ 2022-10-14 14:59:13 | --
5 | CG1TE2200071-Minor Injury | - | Near Miss | - | Low | In Progress | Within SLA | Administrator ¦ 2022-10-14 14:54:14 | --
Note on C11: Admin: Unit Kwh
Note on D11: Admin: Unit Kwh
Note on E11: Admin: unit in Kwh
Note on F11: Admin: KW
Note on G11: Admin: KW
Note on C34: Admin: Kwh
Note on D34: Admin: Kwh
Note on E34: Admin: Kwh
Note on F34: Admin: Kwh
Note on C103: Admin: Hours unit to be added
Note on D103: Admin: Unit of Hrs to be added